## ABC.
Project: | CONSTRUCTION OF 1 UNIT, 1-STOREY, 3-CLASSROOM SCHOOL BUILDING AT MAGSAYSAY NATIONAL HIGH SCHOOL, BRGY. MAGSAYSAY | [8 empty] | Project Description: | Test Description
Code: | CW-123 | [8 empty] | Contract Duration: | 200 | DAYS
Location: | National Highway, Magsaysay, Nabunturan, Davao de Oro | [8 empty] | Source of Funds:
PAY ITEM NO. | DESCRIPTION | UNIT | QUANTITY | ESTIMATED DIRECT COST | MARK-UP |  | TOTAL MARK - UP |  | VAT (5+9) 5% | TOTAL INDIRECT COST (9 + 10) | TOTAL COST (5 + 11) | UNIT COST (Adjusted) (12/3)
[5 empty] | OCM | PROFIT | % | VALUE (5*8)
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13)
PART I. FACILITIES FOR ENGINEER
A.1.1(3) | CONSTRUCTION OF FIELD OFFICE FOR THE ENGINEERS | l.s. | 1 | 108976.61 |  | 8% | 8% | 8718.13 | 5884.74 | 14602.87 | 123579.48 | 123579.48
PART II. OTHER GENERAL REQUIREMENTS
B.3 | PERMITS & CLEARANCES | l.s. | 1 | 92750 |  |  | 0% | 0 | 4637.5 | 4637.5 | 97387.5 | 97387.5
B.5 | PROJECT BILLBOARD/ SIGNBOARD | each | 1 | 7105 | 12% | 8% | 20% | 1421 | 426.3 | 1847.3 | 8952.3 | 8952.3
B.7 (1) | OCCUPATIONAL SAFETY & HEALTH PROGRAM | mo. | 5 | 106350.08 |  | 8% | 8% | 8508.01 | 5742.9 | 14250.91 | 120600.99 | 24120.2
B.9 | MOBILIZATION / DEMOBILIZATION | l.s. | 1 | 30496 |  |  | 0% | 0 | 1524.8 | 1524.8 | 32020.8 | 32020.8
PART III. CIVIL, MECHANICAL, ELECTRICAL AND SANITARY/PLUMBING WORKS
PART A | - EARTHWORKS
803 (1)a | STRUCTURE EXCAVATION | cu.m. | 86.28 | 32524 | 12% | 8% | 20% | 6504.8 | 1951.44 | 8456.24 | 40980.24 | 474.97
804 (1)b | EMBANKMENT (FROM BORROW) | cu.m. | 302.31 | 237153.8 | 12% | 8% | 20% | 47430.76 | 14229.23 | 61659.99 | 298813.79 | 988.44
804 (4) | GRAVEL FILL | cu.m. | 37.47 | 51055.8 | 12% | 8% | 20% | 10211.16 | 3063.35 | 13274.51 | 64330.31 | 1716.85
PART B | - PLAIN AND REINFORCED CONCRETE WORKS
900 (7) | REINFORCED CONCRETE | cu.m. | 115.8 | 731393.74 | 12% | 8% | 20% | 146278.75 | 43883.62 | 190162.37 | 921556.11 | 7958.17
902 (1)a | REINFORCING STEEL (Deformed Grade 40) | kgs. | 19138.13 | 1629207 | 12% | 8% | 20% | 325841.4 | 97752.42 | 423593.82 | 2052800.82 | 107.26
903 (1) | FORMWORKS AND FALSEWORKS | l.s. | 1 | 300537 | 12% | 8% | 20% | 60107.4 | 18032.22 | 78139.62 | 378676.62 | 378676.62
PART C | - FINISHINGS AND OTHER CIVIL WORKS
1001 (6) | CATCH BASIN | l.s. | 1 | 96878 | 12% | 8% | 20% | 19375.6 | 5812.68 | 25188.28 | 122066.28 | 122066.28
1001 (8) | SEWER LINE WORKS | l.s. | 1 | 68306 | 12% | 8% | 20% | 13661.2 | 4098.36 | 17759.56 | 86065.56 | 86065.56
1001 (9) | STORM DRAINAGE AND DOWNSPOUT | l.s. | 1 | 104272.5 | 12% | 8% | 20% | 20854.5 | 6256.35 | 27110.85 | 131383.35 | 131383.35
1001 (11) | SEPTIC VAULT (CONCRETE/CHB) | l.s. | 1 | 248337 | 12% | 8% | 20% | 49667.4 | 14900.22 | 64567.62 | 312904.62 | 312904.62
1002 (4) | PLUMBING FIXTURES | l.s. | 1 | 76556 | 12% | 8% | 20% | 15311.2 | 4593.36 | 19904.56 | 96460.56 | 96460.56
1002 (24) | COLD WATER LINES | l.s. | 1 | 26616.9 | 12% | 8% | 20% | 5323.38 | 1597.01 | 6920.39 | 33537.29 | 33537.29
1003 (1)h | CEILING | l.s. | 1 | 339611.4 | 12% | 8% | 20% | 67922.28 | 20376.68 | 88298.96 | 427910.36 | 427910.36
1003 (17) | CARPENTRY AND JOINERY WORKS | l.s. | 1 | 50358.2 | 12% | 8% | 20% | 10071.64 | 3021.49 | 13093.13 | 63451.33 | 63451.33
1008 (1)c | ALUMINUM GLASS WINDOWS (AWNING TYPE) | sq.m. | 1.08 | 5478.7138 |  |  | 0% | 0 | 273.94 | 273.94 | 5752.6538 | 5326.53
1008 (1)d | ALUMINUM GLASS WINDOWS (FIXED TYPE) | sq.m. | 9.33 | 34812.3308 |  |  | 0% | 0 | 1740.62 | 1740.62 | 36552.9508 | 3917.79
1009 (1)a | JALOUSIE WINDOWS | sq.m. | 29.13 | 70560 |  |  | 0% | 0 | 3528 | 3528 | 74088 | 2543.36
1010 (4) | WOODEN DOORS AND WINDOWS | l.s. | 1 | 188426 | 12% | 8% | 20% | 37685.2 | 11305.56 | 48990.76 | 237416.76 | 237416.76
1013 (1) | CORRUGATED METAL ROOFING | sq.m. | 283.5 | 208911.9 | 12% | 8% | 20% | 41782.38 | 12534.71 | 54317.09 | 263228.99 | 928.5
1016 (1)b | WATERPROOFING (LIQUID) | sq.m. | 149.05 | 153994 | 12% | 8% | 20% | 30798.8 | 9239.64 | 40038.44 | 194032.44 | 1301.79
1018 (2) | UNGLAZED TILES | sq.m. | 9.18 | 20941 | 12% | 8% | 20% | 4188.2 | 1256.46 | 5444.66 | 26385.66 | 2874.25
1018 (5) | GLAZED TILES | sq.m. | 26.33 | 34558.4 | 12% | 8% | 20% | 6911.68 | 2073.5 | 8985.18 | 43543.58 | 1653.76
1027 (1) | CEMENT PLASTER FINISH | sq.m. | 616.98 | 105708 | 12% | 8% | 20% | 21141.6 | 6342.48 | 27484.08 | 133192.08 | 215.88
1032 (1)a | PAINTING WORKS (MASONRY/CONCRETE) | sq.m. | 863.37 | 248907.33 | 12% | 8% | 20% | 49781.47 | 14934.44 | 64715.91 | 313623.24 | 363.25
1032 (1)b | PAINTING WORKS (WOOD) | sq.m. | 58.12 | 27480.11 | 12% | 8% | 20% | 5496.02 | 1648.81 | 7144.83 | 34624.94 | 595.75
1032 (1)c | PAINTING WORKS (STEEL) | sq.m. | 538.22 | 41498 | 12% | 8% | 20% | 8299.6 | 2489.88 | 10789.48 | 52287.48 | 97.15
1046 (2)a1 | CHB NON LOAD BEARING (including Reinforcing Steel) 100mm thk. | sq.m. | 70.29 | 58527 | 12% | 8% | 20% | 11705.4 | 3511.62 | 15217.02 | 73744.02 | 1049.14
1046 (2)a2 | CHB NON LOAD BEARING (including Reinforcing Steel) 150mm thk. | sq.m. | 404.91 | 455761 | 12% | 8% | 20% | 91152.2 | 27345.66 | 118497.86 | 574258.86 | 1418.24
1047 (1) | STRUCTURAL STEEL | l.s. | 1 | 601734 | 12% | 8% | 20% | 120346.8 | 36104.04 | 156450.84 | 758184.84 | 758184.84
1047 (10) | METAL STRUCTURE ACCESSORIES | l.s. | 1 | 208693.42 | 12% | 8% | 20% | 41738.68 | 12521.61 | 54260.29 | 262953.71 | 262953.71
1051 (6) | RAILINGS | l.s. | 1 | 76395.66 | 12% | 8% | 20% | 15279.13 | 4583.74 | 19862.87 | 96258.53 | 96258.53
PART D | - ELECTRICAL
1100 (10) | CONDUITS, BOXES & FITTINGS (Conduit Works/Conduit Rough-in) | l.s. | 1 | 21442.8 | 12% | 8% | 20% | 4288.56 | 1286.57 | 5575.13 | 27017.93 | 27017.93
1101 (33) | WIRES AND WIRING DEVICES | l.s. | 1 | 101945 | 12% | 8% | 20% | 20389 | 6116.7 | 26505.7 | 128450.7 | 128450.7
1102 (1) | POWER LOAD CENTER, SWITCHGEAR AND PANELBOARDS AND OTHER OVERCURRENT PROTECTION DEVICES | l.s. | 1 | 13849 | 12% | 8% | 20% | 2769.8 | 830.94 | 3600.74 | 17449.74 | 17449.74
1103 (1) | LIGHTING FIXTURES AND LAMPS | l.s. | 1 | 61008 | 12% | 8% | 20% | 12201.6 | 3660.48 | 15862.08 | 76870.08 | 76870.08
PART E | - MECHANICAL
1200 (2)c | VENTILATION | set | 1 | 102728 | 12% | 8% | 20% | 20545.6 | 6163.68 | 26709.28 | 129437.28 | 129437.28
1202 (6)a3 | FIRE EXTINGUISHER | set | 1 | 11657 | 12% | 8% | 20% | 2331.4 | 699.42 | 3030.82 | 14687.82 | 14687.82
SPL-1 | TABLES AND CHAIRS | l.s. | 1 | 487888 | 12% | 8% | 20% | 97577.6 | 29273.28 | 126850.88 | 614738.88 | 614738.88
| TOTAL |  |  | 7681389.6946 |  |  |  | 1463619.33 | 457250.45 | 1920869.78 | 9602259.4746
\
PREPARED BY: |  | CHECKED BY: |  |  |  | RECOMMENDING APPROVAL: |  |  |  |  | APPROVED:
| ARVIE P. CUAMAG | ROMEO L. CALAMBA |  |  |  |  | JOY C. MANABAT |  |  |  | ENGR. RAUL G. MABANGLO
| Engineer I | Engineer IV - PDD Head |  |  |  |  | Acting PG Dept. Head - PEO |  |  |  | Governor